## SUMMARY SHEET
DEVELOPMENT OF WALKWAY WITH OTHER UTILITIES AROUND RANITAL LAKE, JABALPUR
S.NO | DESCRIPTION | AMOUNT
1 | LAKE SIDE WALKWAY | 16912739.64
2 | STORM WATER DRAIN | 9649612.8
3 | SEWER LINE | 4971904.515
4 | HOTRICULTURE | 445661.4
5 | LIGHTING & ELECTRICAL WORKS | 4982605
| GRAND TOTAL | 31979918.355
| SAY RS | 32000000
IN WORDS THREE CRORES TWENTY LACS ONLY

## Lake Side Walkway
Development of Walkway with other utilities around Ranital Lake, Jabalpur
Detail Estimate of Iakeside Walkway
S.No. | UADD SOR ITEM NO | Descriptions of Item | No | Length | Width | Depth/Height | Quantity | Rate | Revised Reduced Rates as per Order | Unit | Amount in Rs.
1 | 3.1, Vol III | Excavation
Excavation for roadway in soil including loading in truck for carrying of cut earth to embankment site with all lifts and lead upto1000 metres and as per relevant clauses of section-300
Ranital lake full perimeter Road
|  | For Road | 1 | 1600 | 5.5 | 1.1 | 9680 | 98 | 88.2 | Cum | 853776
2 | 3.11, Vol III | Sub grade
Construction of Embankment/Sub grade/ earth shoulders, as per clause 305 & its sub-clauses, Where required but with approved materials/soil like morrum CBR value not less then 7% i/c all lead & lifts i/c excavation, cost of watering, mpaction and maintenance of surface during construction to ensure shedding & preventing ponding of water (clause 305.3.6) shaping & dressing (clause 305.3.7), finishing etc. complete but excluding scarifying existing granular/bituminous road surface vide clause 305.6.
Ranital lake full perimeter Road
|  | For Road | 1 | 1600 | 5.5 | 1.1 | 9680
|  | Total |  |  |  |  | 9680 | 272 | 244.8 | cum | 2369664 | 2632960
4 |  | Stone Soling
| UADD SOR Vol iii 4.3/P-31 | Providing, laying, spreading and compacting stone aggregates of specific sizes to water bound macadam specification including spreading in uniform thickness, hand packing, rolling with vibratory roller 8-10 tonnes in stages to proper grade and camber, applying and brooming requisite type of screening/ binding materials to fill up the interstices of coarse aggregate, watering and compacting to the required density and as per relevant clauses of section-400.
| 4.3(ii) | Grading- II
| a) | Using Screening Crushable type | 1 | 1600 | 5.5 | 0.4 | 3520
|  | Total |  |  |  |  | 3520 | 857 | 771.3 | cum | 2714976 | 3016640
Stone Dust
| UADD SOR Vol iii 9.2/P-75 | Supply as per clause 514 including all lead and stacking etc. complete.(Rolling & vibrating compaction up to 90-95%)
| 9.2(i) | Crusher stone dust (clause 507.2.3) | 1 | 1600 | 5.5 | 0.1 | 880 | 198 | 178.2 | cum | 156816
GSB
| UADD SOR Vol iii 4.1 P-30 | Construction of granular sub-base by providing coarse graded material, spreading in uniform layers with on prepared surface, mixing by mix in place method at OMC, and compacting with vibratory roller to achieve the desired density, complete in all respect and as per relevant clauses of section-400.
| (ii) | for grading- II Material | 1 | 1600 | 5.5 | 0.2 | 1760 | 614 | 552.6 | cum | 972576
6 |  | Dry Lean Concrete
| UADD SOR Vol iii 6.1/P-60 | Construction of dry lean cement concrete Sub-base over a prepared sub-gradewith coarse and fine aggregate conforming to IS: 383, the size of coarse aggregate not exceeding 25mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per table of MORTH Specifications 600-1, cement content not to be less than 200 kg/cum, optimum moisture content to be ndetermined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, laid with paver with electronic sensor/mechanical paver, compacting with 8-10 tonnes vibratory roller, finishing and curing and as per relevant clauses of section-603.
|  | For Road | 1 | 1600 | 5.5 | 0.15 | 1320
|  | Total quantity |  |  |  |  | 1320 | 2715 | 2443.5 | cum | 3225420 | 3583800
8 |  | PQC
| UADD SOR Vol iii 6.5/P-60 | Construction of dowel jointed, plain cement concrete pavement in M-30 grade concrete over a prepared sub base with 43 grade cement maximum size of coarse aggregate not exceeding 25 mm, mixed in a batching and mixing plant as per approved mix design, transported to site, laid with a fixed form or slip form paver with spreading the concrete by shovels, rakes compacted using needle, screed and plate vibrator and finished in a continuous operation including provision of contraction, expansion, and longitudinal joints, joint filler, separation membrane, sealant primer, joint sealant, debonding strip, placing of dowel bar,tie rod admixtures as approved, curing compound, finishing to lines and grades as per approved drawings as per IRC-15 2002 and as per relevant clauses of section-602 of specifications complete but excluding cost fo steel in dowel ber & tie rod etc.
|  | For Road | 1 | 1600 | 3.5 | 0.25 | 1400
|  | Total quantity |  |  |  |  | 1400 | 4698 | 4228.2 | sqm | 5919480 | 6577200
| UADD SOR Vol iii 6.12/P-61 | Add extra in Item No.- 6.3 & 6.5 above for the cost of stell in dowel bar and tie rod etc. required as per design.
|  |  | NO | L |  | Wt./m
|  | Dowels 32mm dia bars 450mm in length@300mmc/c | 4148.1481 | 0.45 |  | 6.31 | 11778.6667 | Kg
| 6.12.1 | Mild Steel dowel bars |  |  |  |  | 11.7787 | 47850 | 43065 | MT | 507248.28
| 6.12.2 | Tor steel tie rod
|  | Ties For dowel bar 8mm dia bars 2 times of dowels bars | 8296.2963 | 0.3 |  | 0.39 | 970.6667
|  | Chairs basket for Dowels 4 nos 10 mm dia bars @4.5 m c/c in length | 1422.2222 | 3.5 |  | 0.62 | 3086.2222
[7 empty] | 4056.8889 | Kg
[7 empty] | 4.0569 | 52800 | 47520 | MT | 192783.36
GRAND TOTAL | [10 empty] | 16912739.64

## Storm Water Drain
Development of Walkway with other utilities around Ranital Lake, Jabalpur
ESTIMATE OF SEWER WATER DRAIN
S No. | UADD SOR ITEM NO | Descriptions of Item | Measurement |  |  |  |  | Rate |  | Unit | Amount
1 | 2.9.1, Vol II | Excavation work in foundation trenches or drains not exceeding 1.5 m in width or 10 sqm on plan including dressing of sides and ramming of bottoms lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50m.
| 2.9.1 | Ordinary rock | 1 | 1600 | 1.4 | 1 | 2240
|  | Total quantity |  |  |  |  | 2240 | 202 | 181.8 | cum | 407232
2 | 2.27.1 Vol II | Supplying and filling in plinth under floors including, watering, ramming consolidating and dressing complete. Crusher Stone Dust
| 2.27.1 | Crusher Stone Dust | 1 | 1600 | 1.4 | 0.1 | 224
|  | Total quantity |  |  |  |  | 224 | 628 | 565.2 | cum | 126604.8
3 | 4.1.2 Vol II | Cement Concrete M-15 ( Duct)
Providing and laying Plain / Reinorced cement concrete (mixed in concrete mixture) … RCC Grade
M 15 with 20mm maximum size of aggregate.
|  | P.C.C Bed | 1 | 1600 | 1.4 | 0.1 | 224
|  | Total quantity |  |  |  |  | 224 | 4154 | 3738.6 | cum | 837446.4
4 | 5.1.1 Vol II | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
Cement concrete grade M-20 (Nominal Mix) with 20 mm maximum size of stone aggregate.
Along Road
|  | RCC Base 150 MM Thick | 1 | 1600 | 1.2 | 0.15 | 288
|  | R.C.C. Wall 150 MM Thick | 2 | 1600 | 0.15 | 0.75 | 360
|  | Total quantity |  |  |  |  | 648 | 4728 | 4255.2 | cum | 2757369.6
5 | 5.10 | Providing, hoisting and fixing up to floor two level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like including the cost of required centering, shuttering, finishing smooth with 6 mm thick cement plaster 1:3 (1 cement : 3 fine sand) on exposed surfaces complete but excluding cost of reinforcement with Cement concrete grade M-20 (Nominal Mix with 20 mm maximum size of stone aggregate)
Along Road
|  | Precast Grating Cover for Drains | 1 | 1600 | 1.2 | 0.15 | 288
|  | Total quantity |  |  |  |  | 288 | 6524 | 5871.6 | cum | 1691020.8
6 | 5.20.6 Vol II | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete.
| 5.20.6 | Thermo-Mechanically Treated bars
|  | Total Weight of steel KG- | T. Qty Conc. x 0.8% x 7850 |  |  |  | 40694.4
|  | Total Weight of steel KG- | T.Qty PreCast x 0.8% x 7850 |  |  |  | 18086.4
[7 empty] | 58780.8 | 60 | 54 | Kg | 3174163.2
7 | 20.1.1 Vol II | Form work for Drain walls
Centering and shuttering including strutting, propping etc.and removal of form for :
| 20.1.1 | Foundations, footings, bases of columns, etc. For mass concrete.
Along Road
|  | R.C.C. wall inner surface of drain side | 2 | 1600 | 0.75 |  | 2400
|  | R.C.C. wall outside face | 2 | 1600 | 0.9 |  | 2880
|  | Total quantity |  |  |  |  | 5280 | 138 | 124.2 | Sqm | 655776
9649612.8

## SEWER LINE
Development of Walkway with other utilities around Ranital Lake, Jabalpur
ESTIMATE FOR SEWER LINE ALONG RANITAL LAKE
S.No. | UADD SOR ITEM NO | Descriptions of Item | No | Length | Width | Depth/Height | Quantity | Rate | Revised Reduced Rates as per Order | Unit | Amount in Rs.
Excavation for Drain pipe
1 | UADD SOR Vol ( i ) 15.1/P-151 | Earth work in Excavation for pipe trench in all kinds of soil and WBM in areas including dressing, watering and ramming and disposal of Excavated earth lead upto 50 meters and lift upto 1.5m, disposal earth to be leveled, neatly dressed.
|  | For RCC NP2 pipes (for sewer drainage) LEFT SIDE | 1 | 850 | 1.3 | 0.7 | 773.5 | 129.1 | 116.19 | cum | 89872.965
|  | For RCC NP2 pipes (for sewer drainage) RIGHT SIDE | 1 | 750 | 7 | 0.7 | 3675 | 130.1 | 117.09 | cum | 430305.75
REINFORCED CEMENT CONCRETE PIPES
2 | UADD SOR Vol ( i ) 13.1/P-138 | Providing, Laying and jointing non-pressure (NP2) RCC socket & spigot pipes with rubber gasket joint including testing of joints. [Conforming to IS ; 458-1988, ISI marked laying as per IS 783:1985)
|  | 500 mm dia LEFT SIDE | 2 | 850 |  |  | 1700
|  | 500 mm dia RIGHT SIDE | 1 | 750 |  |  | 750
[7 empty] | 2450 | 1049 | 944.1 | Per m | 2313045
3 | UADD SOR Vol ( i ) 15.9/P-151 | Filling with moorum for pipe bedding or over the pipe including supply of moorum
|  | LEFT SIDE IN HUME PIPE AREA | 1 | 850 | 1.3 | 0.2 | 221
|  | RIGHT SIDE IN HUME PIPE AREA | 1 | 750 | 0.7 | 0.2 | 105
[7 empty] | 326 | 625 | 562.5 | cum | 183375
4 | UADD SOR Vol ( ii ) 11.43/P-135 | Dry stone pitching 20 to 22.5cm thick including supply of stones and preparing surface complete. | 1 | 1600 | 1.3 |  | 2080 | 783 | 704.7 | Sq m | 1465776
5 | UADD SOR Vol ( i ) 11.43/P-135 | Construction of circular type of manhole 1500 mm internal dia. at bottom, 560 mm dia at top, total depth of manhole 2650mm in brick masonry with 1:5 cement mortar ( 1 cement : 5 fine sand), 12 mm thick Cement plaster 1:3 (1 cement : 3 coarse sand ) finished with a floating coat of neat cement. 30 cm thick foundation in Cement concrete grade M-7.5 (Nominal Mix) with stone aggregate 40 mm nominal size, RCC Cement Concrete grade M-20 (Nominal Mix) with 20mm Nominal size on top slab and making channel in cement concrete grade M-15 (Nominal Mix) with stone aggregate 20 mm nominal size neatly finished, curing fixing of ISI marked reinforced concrete heavy duty cover (including transportation of cover) complete. as per standard design (Drawing No. 15)
|  | RIGHT SIDE | 22 |  |  |  | 22 | 19683 | 17714.7 | EACH | 389723.4
6 | UADD SOR Vol ( i ) 11.43/P-135 | Construction of circular type manhole 900 mm internal dia. at bottom, 560 mm dia at top total depth of manhole 900 mm in brick masonry with 1:5 cement mortar (1 cement : 5 fine sand), 12 mm thick Cement plaster 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement. 22.5 cm foundation in cement concrete grade M-10 (Nominal Mix) with stone aggregate 40mm nominal size, RCC top slab cement concrete M-20 (Nominal Mix) with stone aggregate 20mm nominal size and making channel in cement concrete grade M-15 (Nominal Mix) with stone aggregate 20mm nominal size neatly finished, curing fixing of ISI marked heavy duty SFRC cover etc. complete as per standard design.
|  | LEFT SIDE | 16 |  |  |  | 16 | 6931 | 6237.9 | EACH | 99806.4
GRAND TOTAL | [10 empty] | 4971904.515

## HOTRICULTURE
Development of Walkway with other utilities around Ranital Lake, Jabalpur
B.O.Q FOR FOR RANITAL LANDSCAPING ( HOTRICULTURE PART 2 )
SeriolNO | Reff. | Description of item | No | L(m) | W(m) | D(m) | Qty | Unit | RATE | Reduced Rate | AMOUNT
2 | UADD SOR 2012 19.2 P-204 | Supplying and stacking of good earth at site including royalty and carriage up to 1 km (earth measured in stacks will be reduced by 20% for payment).
3 | UADD SOR 19.2/P-204 |  |  | 1600 | 0.9 | 0.3 | 432 | Cu m | 184 | 165.6 | 30470.4
| 19.4 | Supplying and stacking at site dump manure from approved source,including carriage up to 1 km (manure measured in stacks will be reduced by 8% for payment)
4 | 19.4.3 | Screened through sieve of I.S. designation 4.75mm | 2 | 1600 | 0.9 | 0.1 | 288 | Cu m | 184 | 165.6 | 52992
7 | 19.8 | Spreading of sludge, dump manure or/and good earth in required thickness (Cost of sludge, dump manure or/ and good earth to be paid separately | 2 | 1600 | 0.9 | 0.1 | 288 | cum | 15 | 13.5 | 4320
8 | 19.9 | Mixing earth and sludge or manure in proportion specified or as directed by the enginer(SAME QTY AS 19.8) |  |  |  |  | 288 | cum | 102 | 91.8 | 29376
HEDGING
11 | 19.13 | Preparation of beds for hedging and shrubbery by excavating 60cm deep and trenching the excavated base to a further depth of 30cm, refilling the excavated earth after breaking clods and mixing with sludge or manure in the ratio of 8:1(8 parts of stacked volume of earth after reduction by 20% : one part of stacked volume of sludge or manure after reduction by 8%), flooding with water, filling with earth if necessary, watering and finally fine dressing, leveling etc. Including stacking and disposal of materials declared unserviceable and surplus earth by spreading and leveling as directed, within a lead of 50m lift up to 1.5 m complete (cost of sludge, manure or extra earth to be paid for separately).
|  |  | 1 | 1600 | 0.9 | 0.1 | 144 | Cu m | 62 | 55.8 | 8928
13 | 19.14.2 | Holes 60 cm dia, and 60 cm deep. |  |  |  |  | 1000 | Each | 24 | 21.6 | 24000
Supply and stacking of Shrubs &trees
| Reff. No | Description with botanical name
15 | 10411 P-49 (S2) | Supply and stacking of plant Tecoma gaudichaudi of height 60-75 cm.with 5-6 branches in p.bag of size 25 cmTecoma guadichaudi/Yellow bells |  |  |  |  | 120 | Each | 50 |  | 6000
16 | 10389 P-58 (S3) | Supply and stacking of plant Murraya exotica of height 45-60 cm. inpoly bags of size 15 cmMurraya exotica/Jasmine, Kamini |  |  |  |  | 300 | Each | 15 |  | 4500
17 | DSR 2016 ,Hotriculture 5.19/p149 (S4) | Providing and Displaying Euphorbia milli hybrid variety plant with multi branch, full bloom, with fresh and healthy well developed having 30 to 45 cm ht. in 35 cm Cement Pots as per direction of the officer-in-charge.Euphorbia milii/Crown of Thorns |  |  |  |  | 400 | Each | 615 |  | 246000
21 | DSR 2016 ,Hotriculture 5.2/P-319 (S8) | Providing and Displaying Acalypha green well developed, fresh & healthy with good foliage, multi branch 30 to 45 cm ht. in 20 cm size Earthen Pot/ Plastic Pot bushy plant as per direction of the officer-in-charge. Acalypha green |  |  |  |  | 100 | Each | 30.75 |  | 3075
24 | DSR 2016 ,Hotriculture 10079/P-19 (S11) | Providing of Raphis palm plant, having ht. 75 cm to 90 cm with 12 to 15 equal suckers, well developed, full of fresh & healthy leaves from bottom to top in 25 cm size Earthen pot / Plastic pot.Raphis excelsa/Raphis Palm |  |  |  |  | 80 | Each | 450 |  | 36000
TOTAL HOTRICULTURE COST | [10 empty] | 445661.4

## Lighting and Electrical
Development of Walkway with other utilities around Ranital Lake, Jabalpur
ESTIMATE FOR LIGHTING AND ELECTRICAL WORKS RANITAL LAKE
S.No | Ref.No. Vol. IV | Description of Items | Unit | Qty | Rate | Reduced Rate as per UADD Orders | Amount
1 | 4.3 | CIRCUIT WIRING IN EXISTING CONDUIT / PVC CASING CAPPING Supplying and drawing single core PVC insulated cable FR with copper multi strand conductor ISI marked in existing rigid conduit in surface or concealed as per specification.
| 4.3.1 | 2.5 Sq mm cable
| 3 | 3 X 1.5 sq mm | Meter | 900 | 96 | 86.4 | 77760
2 | 8.5 | Supplying of ISI Marked and accepted standard of Miniature Circuit Breaker (MCB) of 'C' series suitable for 240/415 Volts, 50 Cycle , 10 kA Value AC supply confirming to IS : 8828 : 1996, IEC : 60898:2002 but without enclosures :-
| 8.5.1 | SINGLE POLE (SP)
| 1 | 0.5 Amp to 5 Amp Rating Make : Havells/Legrand/L&T | Each | 90 | 243 | 218.7 | 19683
3 | 14 | Supply of XLPE Insulated power cable (conforming IS-7098) 1100 Volt grade/Heavy duty power cable conforming to IS 1554-1100 Volts grade , 2 core /3½ core/4 core ISI MARKED with Alu. Stranded /solid conductor
| 14.1.8 | ARMOURED 4 CORE
| 3 | 16 Sq.mm.(XLPE) Make: Havells/Polycab/Finolex | Meter | 1760 | 229 | 206.1 | 362736
4 | 14.12 | Laying of underground cable armoured./ unarmoured as per specification in air with approved type of iron clamps complete.
| 1 | 2 / 3 / 4 Core cable upto 16 Sq.mm | Meter | 1760 | 20 | 18 | 31680
5 | 17.4 | Supplying and installing Double wall corrugated pipes (DWC) of HDPE ( IS 14930 Part II -marked ) for cable laid under ground with necessary connecting sockets/ couplings,tees of same material and at required depth upto 90cm. below road/ground surface,including excavation, back filling with excavated material with ramming and making the surface good.
| 1 | 50.00mm outside dia. | Meter | 1760 | 207 | 186.3 | 327888
6 | 14.8 | LUGS:Supplying and fixing cramping type Alum. lugs as per I.S.S. Specification suitable for following size of cable with Alu. /Copper solid/stranded conductor evenly cramped with high/pressure tool and connected to switch gear/Bus/M.C.C.B./ M.C.B. etc. as required complete. For Conductor Size-
| 1 | 6mm to 16 Sq.mm Make : Dowells/Hex/Jainsons/Comet | Each | 90 | 5 | 4.5 | 405
7 | 11.34 | Providing and fixing earthling arrangement with 16mm dia 2.5 meter long galvanized iron or steel rod electrode including packing of charcoal powder and salt as per specification watering pipe 19mm dia G.I. Connection etc. complete with refilling the pit as required, but excluding the excavation of earth pit. | Each | 90 | 667 | 600.3 | 54027
8 | NoN Sor | Supply of 7mtr high hot dip galvanised PU PAINTED Conical poles with 151mm bottom dia & 75 mm top dia made up of 3mm thk. HT sheet alongwith base plate of size 250X250X16mm thk. It's also includes Decorative single arm bracket 1500 mm long Made out of MS pipe as per IS 1239 having shaft cap dia of 101.6 mm and bracket arm made of 48.3 mm dia x 3.2mm thick MS Pipe with nut bolt arrangement for mounting on conical pole top. The height of door should be 1000mm from the bottom of pole and the lenght of door cover should be 500mm. It's also includes 4Nos of M20X700mm high 'J' type EN 8 grade foundation bolts along with template | Nos | 90 | 24485 |  | 2203650
9 | 13.19 | Erection of steel tubular or rail pole strut in cement concrete 1:3:6 (1cement:3coarse sand: 6 aggregate 40mm nominal size) foundation including excavation and refilling and secured with holding clamps, nuts and bolts, etc. as required. | Each | 90 | 2526 | 2273.4 | 204606
10 | NoN Sor | Supplying of suspension type decorative street light fitting of 80 watt LED , made of spun aluminium housing, polycarbonate diffuser protector with IP 65 protection for optical compartment , with LED CCT 5700K. | Each | 90 | 18113 |  | 1630170
11 | NoN Sor | Supply and Installation of outdoor stand mounted feeder pillar with 32A TPN MCB incomer, single dial time switch, 25A TP contactor for the automatic switching of luminaries. Panel Suitable for I/c 3.5x25Sqr mm & O/g 4x16Sqr mm Cable. | Each | 2 | 35000 |  | 70000
GRAND TOTAL | [6 empty] | 4982605